{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","BRC1E53B"]
[]
[]
[]
[]
["","","","","BRC1E53B7"]
["Csomagolás","Anyag","","","Kartonpapír_"]
["","Súly","","kg","0.05"]
["Külső hőmérséklet","Relatív páratartalom <","","%","95"]
["Méretek","Becsomagolt egység","Szélesség","pp","160"]
["","","Magasság","pp","55"]
["","","Mélység","pp","150"]
["","Egység","Szélesség","pp","120"]
["","","Mélység","pp","19"]
["","","Magasság","pp","120"]
["Burkolat","Gomb burkolata","","","Nem"]
["","Szín","","","Friss fehér"]
["","Üzemjelző LED","Szín","","Zöld"]
["LCD","Típus","","","Teljes pont (160 x 255)"]
["","Háttérvilágítás","Szín","","Fehér"]
["","Befoglaló méretek","Szélesség","pp","68.85"]
["","","Magasság","pp","43.2"]
["Tömeg","Becsomagolt egység","","kg","0.415"]
["","Egység","","kg","0.200"]
["Tartalék tápellátási hiba esetére","","","","Igen (Az óra 48 órát nem meghaladó időtartamig működni fog)"]
["Vezeték csatlakozások","Vezetékelés hossza","Max.","m","500"]